## 5 Pt Data
Calculation for positive or vacuum pressure runs only. Consult factory for compound or absolute ranges. Pink boxes for Data Input only.
Linerarity Based on Increasing Pressure/Vacuum Run Only
Pressure Range: |  | 50000 | PSI
Pressure |  | Unit Output |  | Terminal Output | BFSL Output | Linearity D Output (Terminal) | Linearity D Output (BFSL)
0% | 0 | 4 |  | 4 | 4 | 0 | 0
20% | 10000 | 7.2 |  | 7.2 | 7.2 | 0 | 0
40% | 20000 | 10.4 |  | 10.4 | 10.4 | 0 | 0
60% | 30000 | 13.6 |  | 13.6 | 13.6 | 0 | 0
80% | 40000 | 16.8 |  | 16.8 | 16.8 | 0 | 0
100% | 50000 | 20 |  | 20 | 20 | 0 | 0
| % Lin | Terminal | BFSL
|  | 0 | 0
| FSO | 16
| FSO/5 | 3.2
| FSO/10 | 1.6
| BFSLslope | 0.00032
| BFSLyint | 4
[8 empty] | For a description of accuracy terms, please see our: | GP:50 Performance Specs
Enter your pressure range here.
If a vacuum unit, enter with a minus sign, e.g. -15
Enter your output readings in the pink boxes
(Either mA, VDC or mV)